SECTION 07 62 00
Sheet Metal Flashing and Trim
ALUMINUM CORNICE & DECORATIVE TRIMS

PART 1 - GENERAL

1.01
RELATED DOCUMENTS
A. The provisions included under Division 1, General Requirements, are included as part of this section as though bound herein.
1.02
SUMMARY

A. Provide labor, material, and equipment necessary for furnishing a complete installation of pre-designed aluminum cornice & decorative trims.
B. Related Work Specified Elsewhere
1.
Section 06100 "Rough Carpentry" for wood nailers, curbs, and blocking.

2.
Section 07620 "Sheet Metal Flashing and Trim" for custom and site fabricated sheet metal flashing and trim.

3.
Section 07720 "Roof Accessories" for set-on-type curbs, equipment supports, roof hatches, vents, and other manufactured roof accessory units.
1.03
SUBMITTALS

A. Product Data: Each type of product specified. Submit manufacturer's detailed technical product data, installation instructions and recommendations, dimensions of individual components, profiles, and finishes

B. Shop Drawings: Show fabrication and installation of commercial gutter system including fully dimensioned roof plans, expansion joint locations, sections and details of components and other related trims.

C. Finish & Color Selection: Furnish manufacturer's technical data for specified finish and color chart showing full range of colors available.

1.04
QUALITY ASSURANCE
A. Where pre-engineered manufactured products are specified, other field fabricated or shop/field fabricated substitutions will not be accepted. However, where shop/field fabrications are indicated pre-engineered systems will be considered with Architect approval.

B. Obtain all components and related accessories from one single source manufacturer.
C. Follow manufacturer's guidelines & shop drawings for installing pre-designed cornice & decorative trims. If cornice or trims join a roof system then follow primary roofing manufacturer's printed instructions for installing associated roof material for flashing decorative trims to roof.
1.05
DELIVERY, STORAGE & HANDLING
A. All products delivered shall be stored in a clean dry location prior to installation.

B. Products furnished with strippable protective masking shall not be exposed to direct sunlight for more than 30 minutes without removing masking.

C. Do not install finished materials with scars or abrasions.
1.06
PROJECT CONDITIONS
A. Coordinate work of this Section with adjoining work for proper sequencing to ensure protection from inclement weather and to protect materials and their finish against damage.

B. Do not install commercial gutter system during inclement weather. When installing in cold climates, warm adhesives, caulks, and primers to at least 50 degrees Fahrenheit prior to application.

PART 2 PRODUCTS

2.01
MANUFACTURERS
A. Provide pre-design aluminum cornice, decorative trims, and accessories as manufactured by Perimeter Systems, a division  of Southern Aluminum Finishing Company, Inc. 8370 East Hwy 78, Villa Rica, GA  30180, (800) 334-9823, Online at http://www.saf.com/persys
2.02 TYPE

A. Provide Perimeter Systems' Designer Series Extruded Cornice System “Cornice Design #8EX” and decorative trims as indicated on plans. If shown on plans, see section 07 71 23 for concealed internal gutters and drain ware.
2.03 MATERIALS & FABRICATION

A. Decorative cornice profiles shall be 0.085 6063-T5 aluminum extrusions with interlocking seam design, 10’-0” lengths, profiles to be stock as indicated on plans and printed literature.
B. Decorative cornice splices shall be aluminum extrusions or where required, manufactured from 0.040" aluminum, 4" lengths, designed to mate the inside of the cornice profiles.
C. Support Brackets, attachments brackets and retainer brackets shall be manufactured from 0.125" x 1.00" aluminum, heliarc welded construction (where necessary), factory punched for fasteners.
D. Mounting Gussets (if shown) shall be manufactured from 20 gauge galvanized steel, G90 coating.
2.04
ACCESSORIES

A. Mitered Corners: Provide factory mitered corners for all cornice profiles (excluding soffits). Cornice profiles shall be precision saw cut, heliarc tack welded to produce a picture frame joint.

B. Sculptured End Caps: Provide factory mitered end caps for cornice. Cornice profiles shall be precision saw cut, heliarc tack welded to produce a picture frame joint.

C. Cornice Returns: If shown on drawings, provide cornice returns at eaves & rake terminations in lengths as indicated on plans.
D. Rake & Gable Trims: As shown on drawings, provide rake and gable trims in profiles as indicated complete with concealed splices, attachment brackets (if required).

1. Provide factory mitered corners, precision saw cut, heliarc tack welded to produce a picture frame joint.
E. VHB Assist / Isolator Tape shall be 45 mill, 1” width, synthetic composition, double sided and high adhesion.

F. Hardware for fastening cornice members shall be stainless steel, type 304, #10-24 x 0.75” machine screws with nylon core hex lock nuts.

G. Hardware for mounting gussets shall be selected based on minimum pull strength of 100 lbs / fastener. Fastener material and type must be compatible with building substrates and in conformance with local building codes.

2.05
FINISHES
A. General: Apply coatings to exposed aluminum components after fabrication for maximum coating performance and to prevent crazing, abrasion, and damage to finished surfaces.

B. Pretreatment: Aluminum components shall be pretreated with solutions to remove organic and inorganic surface soils, remove residual oxides, followed by a chrome phosphate conversion coating to which organic coatings will firmly adhere.

C. Coating Type: High Performance Coating, two-coat, shop applied, 70% Polyvinylidene Fluoride (PVDF) coating based on Elf Arkema Chemicals, Inc. Kynar 500 or Ausimont U.S.A., Inc. Hylar 5000 resin, meeting AAMA 2605 specification.

D. Color: Select from manufacturer's full range of 56 EZ Mix Colors.
PART 3 EXECUTION

3.01
EXAMINATION
A. The installer must examine substrates and conditions under which cornice & decorative profiles will be installed. All wood plates and/or fascia boards shall be installed true, straight, and free of splits, cracks, or other irregularities. Do not proceed with installation until unsatisfactory conditions are corrected.

B. The installer must field verify that framing has been built in accordance with the dimensions furnished by the cornice manufacturer either by shop drawings or published literature. Do not proceed with installation until unsatisfactory conditions are corrected.

3.02
INSTALLATION

A. General: The pre-designed cornice and decorative trims shall be installed in strict accordance with manufacturer's printed instructions and shop drawings.

B. Fastening: 
1. Wood Substrates: Cornice trims shall be fastened through factory punched elongated holes (if supplied) or in .1875” field drilled holes with #10 x 1-1/2" stainless steel wood screws. Support brackets, retaining brackets and attachment brackets shall be installed with #10 x 2" stainless steel wood screws at locations and spacing as shown on shop drawings.
2. Steel Gussets:  VHB Assist / Isolator tapes shall be adhered at all fastening locations to separate dissimilar metals.  Field drill cornice trims w/ .1875" diameter drill bit at all fastening locations. Fasten cornice members with   stainless steel, type 304, #10-24 x.75" machine screws with nylon core hex lock nuts.

3. Aluminum miter connections:  Field drill cornice trims w/ .1875" diameter drill bit at all fastening locations.  Fasten cornice members with stainless steel, type 304, #10-24 x 0.75" machine screws with nylon core hex lock nuts.
C. Install cornice profiles and decorative trims with concealed splice plates over brackets and/or framing substrates as shown on shop drawings. In accordance with shop drawings;
1. Coordinate and align spacing of expansion reveal joints with associated trims (stack joints).
2. Plan spacing of joints so there is no sections of fascia shorter than 48" in length.
3. Check horizontal alignment of fascia during installation and adjust as required.
4. Remove Cornice moulding fastening and locking flanges to accommodate splice plates where required.

END OF SECTION 07 62 00
